# FIR–FFT–CNN Based ECG Analysis Tables

## Table 1: Heterogeneous Multi-Core SoC Components

| Module | Description | Implementation |
| --- | --- | --- |
| RISC-V Processor | Controls data flow | Custom RTL |
| FIR Filter | Noise removal | HW Accelerator |
| FFT Engine | Frequency analysis | HW Accelerator |
| CNN Engine | ECG classification | Custom RTL |
| Memory | Data buffering | On-chip SRAM |

## Table 2: FIR Filter Specifications

| Parameter | Value |
| --- | --- |
| Filter Type | Low-pass |
| Input Width | 16-bit |
| Taps | 32 |
| Sampling Rate | 360 Hz |

## Table 3: FIR Performance

| Metric | Before FIR | After FIR |
| --- | --- | --- |
| Noise Power | High | Reduced |
| SNR (dB) | 9.4 | 18.7 |
| Latency | — | 32 cycles |

## Table 4: FFT Specifications

| Parameter | Value |
| --- | --- |
| FFT Size | 64-point |
| Architecture | Radix-2 |
| Output | Real + Imag |

## Table 5: Frequency Features

| ECG Type | Frequency (Hz) | Observation |
| --- | --- | --- |
| Normal | 1–2 | Stable peak |
| Tachycardia | 2.5–4 | Shifted peak |
| Bradycardia | <1 | Low-frequency |

## Table 6: CNN Architecture

| Layer | Filters | Kernel | Output |
| --- | --- | --- | --- |
| Conv1 | 3 | 3 | 30×3 |
| Pool1 | — | 2 | 15×3 |
| Conv2 | 2 | 3 | 13×2 |
| Pool2 | — | 2 | 7×2 |
| FC | — | — | 8 classes |

## Table 7: CNN Detection Output

| Condition | Bit | Status |
| --- | --- | --- |
| Normal | 0 | NO |
| PVC | 1 | YES |
| Tachycardia | 2 | NO |
| Bradycardia | 3 | NO |

## Table 8: Hardware Performance

| Module | Latency (cycles) | Throughput |
| --- | --- | --- |
| FIR | 32 | 1 sample/cycle |
| FFT | 64 | 1 block |
| CNN | 85 | 1 segment |

## Table 9: Hardware vs Software

| Platform | Execution Time | Power |
| --- | --- | --- |
| Software | 12 ms | High |
| Proposed SoC | 0.8 ms | Low |